## Tabelle1
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Student 1 |  | Student 2 |  | Student 3 |  | Student 4 | Probe A | Probe A | Probe C | Probe C | Puffer 1 |  |  |  | E1 | E2 | E - MW |  |  | c durchschnitt
B | Student 1 |  | Student 2 |  | Student 3 |  | Student 4 | Probe A | Probe A | Probe C | Probe C | Puffer 1 |  |  |  | 0.1242 | 0.1539
C | Student 1 |  | Student 2 |  | Student 3 |  | Student 4 | Probe A | Probe A | Probe C | Probe C |  |  |  |  | 0.672 | 0.0834
D | Student 1 |  | Student 2 |  | Student 3 |  | Student 4 |  |  |  |  | Puffer 2 |  |  |  | 0.0178 | 0.0335
E | Student 1 |  | Student 2 |  | Student 3 |  | Student 4 | Probe B | Probe B | Probe D | Probe D | Puffer 2 |  |  |  | 0.5924 | 0.4129
F | Student 1 |  | Student 2 |  | Student 3 |  | Student 4 | Probe B | Probe B | Probe D | Probe D |  |  |  |  | 0.1621 | 0.1832
G | Student 1 |  | Student 2 |  | Student 3 |  | Student 4 | Probe B | Probe B | Probe D | Probe D | Puffer 3 |  |  |  | 0.0732 | 0.0857
H | Student 1 |  | Student 2 |  | Student 3 |  | Student 4 |  |  |  |  | Puffer 3 |  |  |  | 0.5924 | 0.4869
[16 empty] | 0.2472 | 0.2879
[16 empty] | 0.0911 | 0.0955
Standardreihe | E1 | E2 | MW |  | Probe | Verdünnung | E1 | E2 | MW | [6 empty] | 0.0213 | 0.0184
0 | 0 | 0 | 0 |  | A | 2.5 | 0.1242 | 0.1539 | 0.13905 | [6 empty] | 0.0046 | 0.0033
50 | 0.1276 | 0.0956 | 0.1116 |  | A | 50 | 0.0672 | 0.0834 | 0.0753 | [6 empty] | -0.009 | 0.0177
100 | 0.1688 | 0.2696 | 0.2192 |  | A | 100 | 0.0178 | 0.0335 | 0.02565 |  |  |  | Tris | 1000 | 1 | 0.0198 | 0.0097 | 0.01475
150 | 0.3117 | 0.2922 | 0.30195 |  | B | 2.5 | 0.5924 | 0.4129 | 0.50265 |  |  |  | PBS | 1000 | 1 | -0.0292 | -0.0171 | -0.02315
200 | 0.3808 | 0.3571 | 0.36895 |  | B | 5 | 0.1621 | 0.1832 | 0.17265 |  |  |  | x100 | 1000 | 1 | 0.3428 | 0.358 | 0.3504
250 | 0.4809 | 0.4994 | 0.49015 |  | B | 10 | 0.0732 | 0.0857 | 0.07945 | [9 empty] | 0.0019
Puffer | E1 | E2 | MW |  | C | 2.5 | 0.5924 | 0.4869 | 0.53965 | [5 empty] | Probe | Verdünnung | Verdünnungsfaktor | E-MW | c Verdünnt | c Unverdünnt | c-MW
Tris | 0.0198 | 0.0097 | 0.01475 |  | C | 5 | 0.2472 | 0.2879 | 0.26755 | [5 empty] | A | 25 | 0.04 | 0.13905 | 1829.6053 | 73.1842
PBS | -0.0292 | -0.0171 | -0.02315 |  | C | 10 | 0.0911 | 0.0955 | 0.0933 | [5 empty] | A | 50 | 0.02 | 0.0753 | 1981.5789 | 39.6316
x100 | 0.3428 | 0.358 | 0.3504 |  | D | 2.5 | 0.0213 | 0.0184 | 0.01985 | [5 empty] | A | 100 | 0.01 | 0.02565 | 1350 | 13.5 | 1720.3947
[5 empty] | D | 50 | 0.0046 | 0.0033 | 0.00395 | [5 empty] | B | 2.5 | 0.4 | 0.50265 | 661.3816 | 264.5526 | 511.2939
[5 empty] | D | 100 | -0.009 | 0.0177 | 0.00435 | [5 empty] | B | 5 | 0.2 | 0.17265 | 454.3421 | 90.8684 | 635.0658
[15 empty] | B | 10 | 0.1 | 0.07945 | 418.1579 | 41.8158 | 198.0263
[15 empty] | C | 2.5 | 0.4 | 0.53965 | 710.0658 | 284.0263
[15 empty] | C | 5 | 0.2 | 0.26755 | 704.0789 | 140.8158
[15 empty] | C | 10 | 0.1 | 0.0933 | 491.0526 | 49.1053
[15 empty] | D | 25 | 0.04 | 0.01985 | 261.1842 | 10.4474
[15 empty] | D | 50 | 0.02 | 0.00395 | 103.9474 | 2.0789
[15 empty] | D | 100 | 0.01 | 0.00435 | 228.9474 | 2.2895
[15 empty] | 1.A (1:25) | Probe | Soll-Wert | Verdünnung | c (Extinktionsmessung) | c (BCA) | ∅ (BCA) | c (Bradford) | ∅ (Bradford)
[15 empty] | 2.A (1:50) |  |  | 25 |  | 2.8 |  | 1829.6053
[15 empty] | 3.A (1:100) | A | 3mg/ml | 50 | 4.9116 | 2.2 | 2,5 mg/ml | 1981.5789 | 1720.3947
[18 empty] | 100 |  | 2.6 |  | 1350
[18 empty] | 2.5 |  | 0.3 |  | 661.3816
[16 empty] | B | 0,3mg/ml | 5 | 12.608 | 0.29 | 0,31 mg/ml | 454.3421 | 511.2939
[18 empty] | 10 |  | 0.35 |  | 418.1579
[18 empty] | 2.5 |  | 0.15 |  | 710.0658
|  | Stand. 0 0 |  |  | 0 | [10 empty] | C | 0,8mg/ml | 5 | 0.8116 | 0.5 | 0,46 mg/ml | 704.0789 | 635.0658
|  | Stand. 25 0,08 |  |  | 0.08 | [12 empty] | 10 |  | 0.7 |  | 491.0526
|  | Stand. 50 0,17 |  |  | 0.17 | [12 empty] | 25 |  | 1.4 |  | 261.1842
|  | Stand. 75 0,26 |  |  | 0.26 | [10 empty] | D | 1,7mg/ml | 50 | 3.974 | 1.16 | 1,25 mg/ml | 103.9474 | 198.0263
|  | Stand. 100 0,35 |  |  | 0.35 | [12 empty] | 100 |  | 1.18 |  | 228.9474
|  | Stand. 125 0,44 |  |  | 0.44
|  | Stand. 150 0,52 |  |  | 0.52
|  | Stand. 200 0,67 |  |  | 0.67